# Postcode zone ratings and zones for solar (photovoltaic) systems

## As of 1 January 2020

## Postcode zones are one of the factors used to calculate the quantity of renewable energy certificates a solar photovoltaic (PV) system may be eligible for once it is installed—each zone represents the level of solar radiation for a geographical area.

## To find the zone value for a solar PV system, cross check the postcode of the address where the system is, or will be, installed with the postcode range provided in Table 1.

## The postcode zones are also available in [Renewable Energy (Electricity) (Zone Ratings and Zones for Solar (Photovoltaic) Systems) Instrument 2019](https://www.legislation.gov.au/F2019L01583/latest/text).

#### Table 1: Postcode zone ratings and zones for solar PV systems

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Postcode from | Postcode to | Zone | Rating |
| *1* | 0 | 799 | 3 | 1.382 |
| *2* | 800 | 853 | 2 | 1.536 |
| *3* | 854 | 854 | 3 | 1.382 |
| *4* | 855 | 861 | 2 | 1.536 |
| *5* | 862 | 862 | 3 | 1.382 |
| *6* | 863 | 869 | 2 | 1.536 |
| *7* | 870 | 879 | 1 | 1.622 |
| *8* | 880 | 885 | 3 | 1.382 |
| *9* | 886 | 1000 | 2 | 1.536 |
| *10* | 1001 | 2355 | 3 | 1.382 |
| *11* | 2356 | 2357 | 2 | 1.536 |
| *12* | 2358 | 2384 | 3 | 1.382 |
| *13* | 2385 | 2389 | 2 | 1.536 |
| *14* | 2390 | 2395 | 3 | 1.382 |
| *15* | 2396 | 2397 | 2 | 1.536 |
| *16* | 2398 | 2399 | 3 | 1.382 |
| *17* | 2400 | 2400 | 2 | 1.536 |
| *18* | 2401 | 2404 | 3 | 1.382 |
| *19* | 2405 | 2407 | 2 | 1.536 |
| *20* | 2408 | 2544 | 3 | 1.382 |
| *21* | 2545 | 2554 | 4 | 1.185 |
| *22* | 2555 | 2627 | 3 | 1.382 |
| *23* | 2628 | 2628 | 4 | 1.185 |
| *24* | 2629 | 2629 | 3 | 1.382 |
| *25* | 2630 | 2639 | 4 | 1.185 |
| *26* | 2640 | 2816 | 3 | 1.382 |
| *27* | 2817 | 2817 | 2 | 1.536 |
| *28* | 2818 | 2820 | 3 | 1.382 |
| *29* | 2821 | 2829 | 2 | 1.536 |
| *30* | 2830 | 2830 | 3 | 1.382 |
| *31* | 2831 | 2841 | 2 | 1.536 |
| *32* | 2842 | 2872 | 3 | 1.382 |
| *33* | 2873 | 2873 | 2 | 1.536 |
| *34* | 2874 | 2877 | 3 | 1.382 |
| *35* | 2878 | 2889 | 2 | 1.536 |
| *36* | 2890 | 2999 | 3 | 1.382 |
| *37* | 3000 | 3035 | 4 | 1.185 |
| *38* | 3036 | 3038 | 3 | 1.382 |
| *39* | 3039 | 3044 | 4 | 1.185 |
| *40* | 3045 | 3045 | 3 | 1.382 |
| *41* | 3046 | 3046 | 4 | 1.185 |
| *42* | 3047 | 3049 | 3 | 1.382 |
| *43* | 3050 | 3058 | 4 | 1.185 |
| *44* | 3059 | 3059 | 3 | 1.382 |
| *45* | 3060 | 3060 | 4 | 1.185 |
| *46* | 3061 | 3064 | 3 | 1.382 |
| *47* | 3065 | 3074 | 4 | 1.185 |
| *48* | 3075 | 3076 | 3 | 1.382 |
| *49* | 3077 | 3098 | 4 | 1.185 |
| *50* | 3099 | 3099 | 3 | 1.382 |
| *51* | 3100 | 3292 | 4 | 1.185 |
| *52* | 3293 | 3302 | 3 | 1.382 |
| *53* | 3303 | 3308 | 4 | 1.185 |
| *54* | 3309 | 3319 | 3 | 1.382 |
| *55* | 3320 | 3333 | 4 | 1.185 |
| *56* | 3334 | 3337 | 3 | 1.382 |
| *57* | 3338 | 3339 | 4 | 1.185 |
| *58* | 3340 | 3758 | 3 | 1.382 |
| *59* | 3759 | 3760 | 4 | 1.185 |
| *60* | 3761 | 3764 | 3 | 1.382 |
| *61* | 3765 | 3999 | 4 | 1.185 |
| *62* | 4000 | 4416 | 3 | 1.382 |
| *63* | 4417 | 4417 | 2 | 1.536 |
| *64* | 4418 | 4427 | 3 | 1.382 |
| *65* | 4428 | 4473 | 2 | 1.536 |
| *66* | 4474 | 4476 | 1 | 1.622 |
| *67* | 4477 | 4478 | 2 | 1.536 |
| *68* | 4479 | 4485 | 1 | 1.622 |
| *69* | 4486 | 4491 | 2 | 1.536 |
| *70* | 4492 | 4492 | 1 | 1.622 |
| *71* | 4493 | 4493 | 2 | 1.536 |
| *72* | 4494 | 4494 | 3 | 1.382 |
| *73* | 4495 | 4497 | 2 | 1.536 |
| *74* | 4498 | 4719 | 3 | 1.382 |
| *75* | 4720 | 4722 | 2 | 1.536 |
| *76* | 4723 | 4723 | 3 | 1.382 |
| *77* | 4724 | 4734 | 2 | 1.536 |
| *78* | 4735 | 4736 | 1 | 1.622 |
| *79* | 4737 | 4822 | 3 | 1.382 |
| *80* | 4823 | 4823 | 2 | 1.536 |
| *81* | 4824 | 4824 | 3 | 1.382 |
| *82* | 4825 | 4827 | 2 | 1.536 |
| *83* | 4828 | 4828 | 3 | 1.382 |
| *84* | 4829 | 4829 | 1 | 1.622 |
| *85* | 4830 | 5431 | 3 | 1.382 |
| *86* | 5432 | 5450 | 2 | 1.536 |
| *87* | 5451 | 5654 | 3 | 1.382 |
| *88* | 5655 | 5669 | 2 | 1.536 |
| *89* | 5670 | 5679 | 3 | 1.382 |
| *90* | 5680 | 5699 | 2 | 1.536 |
| *91* | 5700 | 5709 | 3 | 1.382 |
| *92* | 5710 | 5722 | 2 | 1.536 |
| *93* | 5723 | 5724 | 1 | 1.622 |
| *94* | 5725 | 5730 | 2 | 1.536 |
| *95* | 5731 | 5731 | 1 | 1.622 |
| *96* | 5732 | 5732 | 2 | 1.536 |
| *97* | 5733 | 5799 | 1 | 1.622 |
| *98* | 5800 | 6043 | 3 | 1.382 |
| *99* | 6044 | 6044 | 2 | 1.536 |
| *100* | 6045 | 6256 | 3 | 1.382 |
| *101* | 6257 | 6270 | 4 | 1.185 |
| *102* | 6271 | 6316 | 3 | 1.382 |
| *103* | 6317 | 6349 | 4 | 1.185 |
| *104* | 6350 | 6353 | 3 | 1.382 |
| *105* | 6354 | 6356 | 4 | 1.185 |
| *106* | 6357 | 6394 | 3 | 1.382 |
| *107* | 6395 | 6400 | 4 | 1.185 |
| *108* | 6401 | 6430 | 3 | 1.382 |
| *109* | 6431 | 6431 | 2 | 1.536 |
| *110* | 6432 | 6433 | 3 | 1.382 |
| *111* | 6434 | 6440 | 2 | 1.536 |
| *112* | 6441 | 6441 | 1 | 1.622 |
| *113* | 6442 | 6444 | 3 | 1.382 |
| *114* | 6445 | 6459 | 4 | 1.185 |
| *115* | 6460 | 6467 | 3 | 1.382 |
| *116* | 6468 | 6469 | 2 | 1.536 |
| *117* | 6470 | 6471 | 3 | 1.382 |
| *118* | 6472 | 6472 | 2 | 1.536 |
| *119* | 6473 | 6506 | 3 | 1.382 |
| *120* | 6507 | 6508 | 2 | 1.536 |
| *121* | 6509 | 6509 | 3 | 1.382 |
| *122* | 6510 | 6536 | 2 | 1.536 |
| *123* | 6537 | 6537 | 1 | 1.622 |
| *124* | 6538 | 6555 | 2 | 1.536 |
| *125* | 6556 | 6573 | 3 | 1.382 |
| *126* | 6574 | 6602 | 2 | 1.536 |
| *127* | 6603 | 6607 | 3 | 1.382 |
| *128* | 6608 | 6641 | 2 | 1.536 |
| *129* | 6642 | 6724 | 1 | 1.622 |
| *130* | 6725 | 6750 | 2 | 1.536 |
| *131* | 6751 | 6764 | 1 | 1.622 |
| *132* | 6765 | 6765 | 2 | 1.536 |
| *133* | 6766 | 6797 | 1 | 1.622 |
| *134* | 6798 | 6799 | 2 | 1.536 |
| *135* | 6800 | 6999 | 3 | 1.382 |
| *136* | 7000 | 8999 | 4 | 1.185 |
| *137* | 9000 | 9999 | 3 | 1.382 |