# First generation validation questionnaire for large-scale generation certificates

This questionnaire is a compulsory one-off task that contributes to the risk assessment of a power station’s first large-scale generation certificate (LGC) claim. You must upload this questionnaire with your generation data when you submit your power station’s first LGC claim in the REC Registry.

## Assessment of LGC claims

We take a risk-based approach to LGC claims. Our assessment includes the information in the claim and past performance of a power station and registered person, among other items.

A power station can be subject to a detailed assessment at any time to ensure the continued integrity of the scheme. This includes requesting further information when necessary to validate an LGC claim.

## LGC creation and registration

A registered person with power station(s) accredited under the Renewable Energy (Electricity) Act 2000 is eligible to create LGCs using the REC Registry.

Only the nominated person for a power station or their representatives can lodge LGC claims. The power station must keep track of its account users and permissions and update staff changes accordingly. View more information on account management.

## What a registered person should do before creating LGCs

Review the accreditation approval letter and the conditions set out within the document to be aware of compliance obligations.

Review and understand the accredited metering set-up and have contact details for the meter reading service provider.

Read Regulation 14 of the Renewable Energy (Electricity) Regulations 2001.

Know your accredited LGC methodology and the general formula for site-specific eligible electricity generation.

Understand how to correctly calculate LGCs by reading our guidance on undertaking the calculation and the attributes of the calculation.

Watch our demonstration video on how to submit an LGC claim in the REC Registry.

## Further information

Read more about power stations or contact us at RET-LGCValidation@cer.gov.au or 1300 553 542.

## Questionnaire

| Question |  | Response |
| --- | --- | --- |
| - What is the power station’s accreditation start date? Refer to the power station accreditation letter. |  | Click or tap to enter a date. |
| - Have you only created LGC’s for electricity generated from the accreditation start date onward? Power stations can only claim eligible generation from their accreditation start date and onwards. |  | Choose an item. |
| - Has the metering configuration changed since the power station was accredited? If ‘Yes’, please detail what has changed and why. An application to vary to what constitutes a power station may be required before LGC eligibility can be calculated. |  | Choose an item. Comment (if applicable): |
| - What is the power station’s LGC methodology? Example: LGCs = TLEG – (FSL + AUX + (DLEG x (1 – MLF))) Where: TLEG = Meter reading from Sunplex XJ4 meter (SN: 1234). AUX = Meter reading from Sunplex XJ4 meter (SN: 1234). FSL = 0 (the only fuel is solar). MLF = 1. All electricity is used onsite or sent within the local distribution network. Therefore: LGCs = [Export (SN: 1234) – Import (SN: 1234)] x MLF |  |  |
| - Please provide details for how you have applied the LGC methodology. Example: Electricity generation exported from the power station (TLEG) is measured by meters M1, M2 and M3 (SNs: XXX, XXXX, XXXXX). Imported electricity for auxiliary losses (AUX) are measured by meters M1, M2 and M3 (SNs: XXX, XXXX, XXXXX). There are no fossil fuel sources (FSL). LGC eligibility has been calculated by summing the exported electricity and deducting the imported electricity. |  |  |
| - Have you deducted the amount of electricity consumed by the power station components (auxiliary loss) when calculating LGC eligibility Auxiliary loss example: the amount of electricity consumed by solar inverters at night. | Choose an item. Comment (if applicable): |  |
| - Has the amount of auxiliary loss been reported in the AUX field of the REC Registry? | Choose an item. |  |
| - If the power station is co-located with a small generation unit (SGU), has generation from the SGU been excluded from your LGC eligibility calculation? | Choose an item. |  |
| - Provide the name of the company or service provider who undertook the meter readings on your behalf. Note: if meters are self-read, please provide comment. |  |  |
| - Do you have access to the meter data file(s)? | Choose an item. |  |
| - Have you provided 30-minute or less interval data? Note: meter data must be provided in 30-minute intervals or less (15, 10, 5 minutes). | Choose an item. |  |
| - Have you used interval data from the meters identified in the LGC methodology to calculate your eligibility? If ‘No’, please detail why you have not used interval meter data from the accredited meters. | Choose an item. Comment (if applicable): |  |
| - Have you provided your supporting calculations for determining your eligibility? | Choose an item. |  |
| - Do you have any further comments or details to provide about the power station? | Comment (if applicable): |  |